ABSTRACT

The system is an advanced real time air quality reporting system supported with Internet Of things (IOT) architecture. Degrading air quality has been a matter of concern nowadays and real time monitoring of air quality helps us to keep a check on it. Air Quality Index (AQI) is the scale to measure how polluted the air is. Greater AQI indicates more dangerous air is for human health. The model presented here uses a combination of the Arduino Mega software and hardware along with Gas sensors - MQ135 which help in detecting gases like NO2, CO, CO2, NH3 while measuring their amount decently and display the AQI value, PMS7003 which gives the exact values of particulate matters in the atmosphere. Further the readings will be displayed, and a graph will be plotted on a dashboard. Temperature and humidity sensors will be used to display the current temperature and humidity.

***Keywords****: Air quality monitoring, rain gauge, Dashboard*

*Mapping with POs and PSOs:*

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **PO1** | **PO2** | **PO4** | **PO4** | **PO5** | **PO6** | **PO7** | **PO8** | **PO9** | **PO10** | **P011** | **PO12** | **PSO1** | **PSO2** |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |

**TABLE OF CONTENTS**

|  |  |  |
| --- | --- | --- |
| **Chapter** | **Contents** | **Page No.** |
|  | **ABSTRACT** | **i** |
|  | **LIST OF TABLES** | **iv** |
|  | **LIST OF FIGURES** | **v** |
|  | **LIST OF ABBREVIATIONS** | **vi** |
| **1.** | **INTRODUCTION** | **1** |
|  | 1.1 BACKGROUND | 3 |
| **2.** | **LITERATURE SURVEY** | **4** |
|  | 2.1 RELATED WORK | 5 |
|  | 2.2 EXISTING SYSTEM | 5 |
| **3.** | **PROBLEM IDENTIFICATION AND OBJECTIVES** | **10** |
|  | 3.1 PROBLEM STATEMENT & OBJECTIVES | 11 |
|  | 3.2 SYSTEM STUDY | 11 |
|  | 3.3 FEASIBILITY ANALYSIS | 13 |
|  | 3.4 SCOPE AND APPLICATIONS | 13 |
| **4.** | **PROBLEM ANALYSIS AND DESIGN** | **15** |
|  | 4.1 HIGH LEVEL DESIGN | 16 |
|  | 4.2 MODULE DESCRIPTION | 17 |
|  | 4.3 DATA FLOW DIAGRAM | 31 |
|  | 4.4 DATABASE DESIGN | 32 |
|  | 4.5 ALGORITHMS | 33 |
| **5.** | **IMPLEMENTATION AND RESULTS** | **34** |
|  | 5.1 SYSTEM REQUIREMENTS | 35 |
|  | 5.2 IMPLEMENTATION DETAILS | 35 |
|  | 5.3 TESTING | 36 |
|  | 5.4 EXPERIMENTAL RESULTS & DISCUSSION | 39 |
| **6.** | **CONCLUSION** | **41** |
| **7.** | **FUTURE WORKS SUGGESTED** | **43** |
| **8.** | **REFERENCES** | **45** |
| **9.** | **APPENDIX I – CODE SNIPPETS** | **47** |

**LIST OF FIGURES**

|  |  |  |
| --- | --- | --- |
| **Figure** | **Title** | **Page No.** |
| Figure 2.1 | Overview of Arduino based system | 6 |
| Figure 2.2 | Circuit structure of zigbee based system | 7 |
| Figure 2.3 | Dustroid Pro | 8 |
| Figure 3.1 | Overview of the project | 12 |
| Figure 4.1 | Block diagram of air quality checking node | 16 |
| Figure 4.2 | Circuit diagram of air quality checking node | 17 |
| Figure 4.3 | Arduino Mega 2560 | 18 |
| Figure 4.4 | MQ135 pinout | 19 |
| Figure 4.5 | MQ135 | 20 |
| Figure 4.6 | BME280 | 20 |
| Figure 4.7 | PMS7003 | 21 |
| Figure 4.8 | RFM95W | 23 |
| Figure 4.9 | Indoor Gateway | 24 |
| Figure 4.10 | LoRaWAN Technology | 25 |
| Figure 4.11 | ChirpStack Server | 28 |
| Figure 4.12 | Service Uplink | 28 |
| Figure 4.13 | Dashboard | 29 |
| Figure 4.14 | Map | 30 |
| Figure 4.15 | Flowchart | 31 |
| Figure 4.11 | Database | 32 |
| Figure 5.1 | Node implemented | 36 |
| Figure 5.2 | MQ135 Output | 37 |
| Figure 5.3 | PMS7003 Output | 37 |
| Figure 5.4 | BME280 Output | 37 |
| Figure 5.5 | Integration testing | 38 |
| Figure 5.6 | System testing | 39 |
| Figure 5.7 | Dashboard implemented | 40 |

**LIST OF TABLES**

|  |  |  |
| --- | --- | --- |
| **Table** | **Title** | **Page No.** |
| Table 3.1 | Cost Analysis | 13 |
| Table 4.1 | Arduino Mega Specifications | 18 |
| Table 4.2 | Gateway Specification | 26 |